Part 1

General Information

1 Product Lineup	4

2 Nomenclature	4

- Product Lineup

| Power Supply | 380-415 V / 3 N / 50 Hz |  |  |  |
| --- | --- | --- | --- | --- |
| Model | MHC-V40WD2RN7 | MHC-V35WD2RN7 | MHC-V30WD2RN7 | MHC-V26WD2RN7 |
| Appearance |  |  |  |  |

Note:

Please note that photos are for reference, products may vary.

- Nomenclature

| M | H | C | - | V | 35 | W | D2 | R | N7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 |  | 4 | 5 | 6 | 7 | 8 | 9 |

| Legend |  |  |
| --- | --- | --- |
| No. | Code | Remarks |
| 1 | M | Brand: Midea |
| 2 | H | Unit type: heat pump |
| 3 | C | Structure: Mono |
| 4 | V | System type: Inverter |
| 5 | 35 | Capacity Code: 40: 40 kW. 35: 35 kW. 30: 30 kW. 26: 26 kW |
| 6 | W | Cooling type: Air cooling |
| 7 | D2 | Compressor and fan motor types: All DC |
| 8 | R | R: 3-phase, 380-415V, 50Hz |
| 9 | N7 | Refrigerant: R290 |